## ЗведенийПерелік
Summary list of emergency material resources of humanitarian aid, necessary for the restoration of electricity networks of Ukraine, in connection with the military aggression of the Russian Federation
№ | Name of equipment, materials, tools,fuel | Unit measurement | Quantity
1 | 2 | 3 | 4
1 | Uninterruptible power supply units 220V | pcs. | 142
2 | Uninterruptible power supply units up to 20kW | pcs. | 8
3 | Aerial platforms | pcs. | 19
4 | Mobile cranes with a load capacity of up to 40 tons | pcs. | 4
5 | Brigade vehicles | pcs. | 9
6 | Trucks | pcs. | 2
7 | Car lifts | pcs. | 8
8 | Autotransformers 330kV | pcs. | 6
9 | Vehicles - electrical laboratories 10-35 kV | pcs. | 2
10 | Vehicles for transporting reinforced concrete poles | pcs. | 11
11 | Mobile cranes - with load-lifting mechanisms 40 tons and above | pcs. | 34
12 | Accumulator batteries 12V | pcs. | 230
13 | Chainsaws | pcs. | 62
14 | High-voltage inputs 110 kV | pcs. | 24
15 | High-voltage inputs 35kV | pcs. | 30
16 | Sulfur hexafluoride (SF6) switches 110 kV | pcs. | 100
17 | Sulfur hexafluoride (SF6) switches 150 kV | pcs. | 33
18 | Sulfur hexafluoride (SF6) switches 220kV | pcs. | 9
19 | Sulfur hexafluoride (SF6) switches 330kV | pcs. | 18
20 | Air switches 330kV | pcs. | 2
21 | Vacuum switches 10kV | pcs. | 115
22 | Vacuum switches 35kV | pcs. | 238
23 | Sulfur hexafluoride (SF6) switches 110 kV | pcs. | 5
24 | Sulfur hexafluoride (SF6) switches 150 kV | pcs. | 7
25 | High-frequency stopper 110kV | pcs. | 2
26 | Gasoline power stations | pcs. | 46
27 | Diesel power plants | pcs. | 132
28 | Insulators | pcs. | 52064
29 | Control cable | km | 111
30 | Power cable | km | 153
31 | Compressor 220kV | pcs. | 10
32 | Coupling capacitor 110 kV | pcs. | 3
33 | Coupling capacitor 330kV | pcs. | 1
34 | Coupling capacitor 330kV | pcs. | 1
35 | Complete transformer substation-10kV | pcs. | 49
36 | Mini excavator | pcs. | 5
37 | Cable couplings | pcs. | 2536
38 | Cable lugs | pcs. | 6640
39 | Semi-trailers | pcs. | 2
40 | Submersible pumps | pcs. | 4
41 | Surge limiters 150 kV | pcs. | 1
42 | Automotive oil | ton | 10
43 | Transformer oil | ton | 423
44 | Surge arresters-110kV | pcs. | 3
45 | Surge arresters-330kV | pcs. | 3
46 | Surge arresters-35kV | pcs. | 3
47 | Reinforced concrete supports | pcs. | 78
48 | Metal supports | pcs. | 1
49 | Support columns of disconnectors | pcs. | 420
50 | Gasoline fuel | ton | 340
51 | Diesel fuel | ton | 250
52 | Mounting wire | km | 4
53 | Bare wire | km | 782
54 | Self-supporting insulated wire | km | 487
55 | Vacuum reclosers 10kV | pcs. | 12
56 | Disconnectors 150 kV | pcs. | 12
57 | Disconnectors 330 kV | pcs. | 22
58 | Disconnectors 35kV | pcs. | 13
59 | Spark gap 150 kV | pcs. | 1
60 | Spark gap 220 kV | pcs. | 6
61 | Spark gap 330 kV | pcs. | 1
62 | Traverses 10 kV | pcs. | 4914
63 | Traverses 110 kV | pcs. | 30
64 | Traverses 35 kV | pcs. | 30
65 | Power transformers 10 kV | pcs. | 90
66 | Power transformers 110 kV | pcs. | 132
67 | Power transformers 150 kV | pcs. | 24
68 | Power transformers 20 kV | pcs. | 65
69 | Power transformers 35 kV | pcs. | 124
70 | Voltage transformers 10 kV | pcs. | 55
71 | Voltage transformers 110 kV | pcs. | 9
72 | Voltage transformers 150 kV | pcs. | 9
73 | Voltage transformers 35 kV | pcs. | 15
74 | Current transformers 35 kV | pcs. | 564
75 | Current transformers 110 kV | pcs. | 18
76 | Current transformers 150 kV | pcs. | 17
77 | Current transformers 220 kV | pcs. | 14
78 | Current transformers 330 kV | pcs. | 17
79 | Current transformers 35 kV | pcs. | 91
80 | Current transformers 6 kV | pcs. | 12
81 | Current transformers 750 kV | pcs. | 1
82 | Ground wire | pcs. | 10
83 | Sulfur hexafluoride (SF6) busbar 330 kV | km | 0.2
84 | Coal gas grade (additional needs) | ton | 350000
85 | Coal anthracite (additional needs) | ton | 150000
86 | Circuit breaker ABB LTB-420E2 or analogue I=3150A, U=400 kW, I disconnect=40 kA
87 | Circuit breaker ABB LTB-420E2 or analog I=3150A, U=400 kW, I disconnect=40 kA
88 | Circuit breaker HPL 245B1 or analog I=3150A, U=220 kW, I disconnect=50 kA